Assessment Requirements for MEM18086 Test, recover, evacuate and charge refrigeration systems

Release: 1

Assessment Requirements for MEM18086 Test, recover, evacuate and charge refrigeration systems

Modification History

Release 1. Supersedes and is equivalent to MEM18086B Test, recover, evacuate and charge refrigeration systems

Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria on at least two (2) occasions and include:

following work instructions, standard operating procedures (SOPs) and safe work practices

identifying and interpreting drawings, instructions, specifications, procedures, codes and regulations to test and check refrigeration components and systems

planning and sequencing refrigeration operations and developing operating procedures for equipment as required in compliance with AS - HB40 Refrigeration and Air Conditioning codes of practice and ozone and greenhouse substance legislation

performing electrical safety checks and tests for conformance to specifications using appropriate techniques and equipment, determining pressures and temperatures and documenting test results and procedures undertaken

identifying faulty components and any system contamination and selecting appropriate materials, equipment and refrigerant to recover, evacuate and charge the system

lubricating and checking the re-charged refrigeration system for leaks and rectifying, where required.

Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

safe work practices and procedures and use of personal protective equipment (PPE) when handling or working with refrigerants

operating principles of refrigeration systems

characteristics, properties and operating specifications of all types of refrigerant

methods of identifying stored refrigerants and the type of refrigerant used in a refrigeration system

relevant codes and regulations applying to refrigeration systems

procedures and safety precautions for testing/checking refrigeration systems

corrective actions for system and component faults, including appropriate basic electrical safety checks

types of refrigerant leak detection equipment/techniques and their applications

causes of contamination in refrigeration systems and their effect on refrigeration system performance

procedures for cleaning contaminated systems, tools and equipment used

care and use of vacuum pumps

tools, techniques and equipment required to carry out refrigerant recovery procedures

procedures for charging refrigeration systems and the correct refrigerant for a range of given applications and tools, techniques and equipment to be used

safety precautions to be taken when charging refrigeration systems with refrigerant by various methods

procedures for storing and disposing of recovered refrigerant and consequences of releasing quantities of refrigerant into the atmosphere

properties and uses of refrigeration oil and the procedures to be followed when checking level and adding lubricating oil.

Assessment Conditions

Assessors must:

have vocational competency in testing, recovering, evacuating and charging refrigeration systems at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions. This must cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2